EVSE Installation Cost Comparison of Various Programs

April 2, 2021

|  | Program Averages |  |  |
| --- | --- | --- | --- |
| Install Type | PG&E EVCN | CALeVIP | L2 MCEv |
| Cost / Port | $18,300+1 | $8,500 - 9,5002 | $4,7003 |
| Notes | 1 Average across 148 sites as of Q4 2020. For more information, see https://www.pge.com/pge_global/common/pdfs/solar-and-vehicles/your-options/clean-vehicles/charging-stations/program-participants/EVCN-PAC-2020-Q4.pdf 2 For more information on CALeVIP program costs, see https://www.energy.ca.gov/programs-and-topics/programs/clean-transportation-program/california-electric-vehicle 3 Average across 21 sites from MCE’s MCEv Charging Program as of summer 2020 |  |  |